| Responsible student association: | Date: |
| --- | --- |
| Fire Contact: | Student pub: |

| Checkpoint | Comments / measures | Deadline | Responsible | Status |
| --- | --- | --- | --- | --- |
| - Are all escape routes free of obstacles and easily flammable materials? |  |  |  |  |
| - Can all doors to escape routes be easily opened from the inside without the use of a key? |  |  |  |  |
| - Do the self-closing fire doors work as intended; i.e. are they are kept closed, does the holding magnet release when the test button is used and do they close tightly in the frame? |  |  |  |  |
| - Is the marking/signage of escape routes and extinguishing equipment in place and in order? Please note that escape signs must be lit at all times. |  |  |  |  |
| - Is the extinguishing equipment in place, readily available and without visible damage? |  |  |  |  |
| - Are manual fire alarm boxes and emergency openers for doors readily available and clearly visible? |  |  |  |  |
| - Is the fire alarm centre in "Normal operation" (no error message)? |  |  |  |  |
| - Are notices showing escape routes and fire instructions visible in the premises? |  |  |  |  |
| - Are fire vests for the pub personnel in place and readily available? |  |  |  |  |
| - Have pub personnel at work carried out fire training? |  |  |  |  |
| - Is pressurised gas stored and used to ensure minimal risk of unwanted incidents? |  |  |  |  |

- Organisational circumstances: To be rectified by the student association as quickly as possible.

- Structural matters: To be reported to the Estate Department in the Speak up portal.