## Sheet0
sensor | Brand | Software Master Version | HCI Version | Device Status | Software Minor Version | SN Number
8401 | Inverter | V2.41 | V1.12 | Offline | V2.41 | F12186000115
Time | InverterSN | Data LoggerSN | Alert Details | Alert Code | DC Voltage PV1(V) | DC Voltage PV2(V) | DC Voltage PV3(V) | DC Voltage PV4(V) | DC Current1(A) | DC Current2(A) | DC Current3(A) | DC Current4(A) | AC Voltage R/U/A(V) | AC Voltage S/V/B(V) | AC Voltage T/W/C(V) | AC Current R/U/A(A) | AC Current S/V/B(A) | AC Current T/W/C(A) | AC Output Total Power (Active)(W) | AC Output Frequency R(Hz) | Daily Generation (Active)(kWh) | Total Generation (Active)(kWh) | Boost highest temperature(℃) | Total Operating Hours(h) | Inverter Status | Performance Period(h)
2020-06-17 04:18 | F12186000115 | 517793557 |  |  | 382.30 | 2.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.40 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.04 | 0.00 | 5200.80 | 20.20 | 5032 | Testing | 5032
2020-06-17 04:18 | F12186000115 | 517793557 |  |  | 20.90 | 2.30 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.40 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.02 | 0.00 | 5200.80 | 20.30 | 5032 | Testing | 5032
2020-06-17 04:25 | F12186000115 | 517793557 |  |  | 476.60 | 2.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.40 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 50.02 | 0.00 | 5200.80 | 20.40 | 5033 | Testing | 5033
2020-06-17 04:26 | F12186000115 | 517793557 |  |  | 479.70 | 2.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.20 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 0.00 | 5200.80 | 20.50 | 5033 | Testing | 5033
2020-06-17 04:32 | F12186000115 | 517793557 |  |  | 488.20 | 2.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.40 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 50.04 | 0.00 | 5200.80 | 20.60 | 5033 | Testing | 5033
2020-06-17 04:38 | F12186000115 | 517793557 |  |  | 490.90 | 2.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.20 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 49.99 | 0.00 | 5200.80 | 20.70 | 5033 | Testing | 5033
2020-06-17 04:39 | F12186000115 | 517793557 |  |  | 488.40 | 2.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.20 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 50.00 | 0.00 | 5200.80 | 20.80 | 5033 | Testing | 5033
2020-06-17 04:48 | F12186000115 | 517793557 |  |  | 494.90 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 136.70 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 0.00 | 5200.80 | 21.00 | 5033 | Testing | 5033
2020-06-17 04:49 | F12186000115 | 517793557 |  |  | 496.20 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.00 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 49.96 | 0.00 | 5200.80 | 21.00 | 5033 | Testing | 5033
2020-06-17 04:55 | F12186000115 | 517793557 |  |  | 499.20 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.00 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 0.00 | 5200.80 | 21.10 | 5033 | Testing | 5033
2020-06-17 05:01 | F12186000115 | 517793557 |  |  | 505.50 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 136.50 | 137.00 | 0.00 | 0.00 | 0.00 | 0 | 49.98 | 0.00 | 5200.80 | 21.30 | 5033 | Testing | 5033
2020-06-17 05:02 | F12186000115 | 517793557 |  |  | 40.00 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.00 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 49.99 | 0.00 | 5200.80 | 21.40 | 5033 | Testing | 5033
2020-06-17 05:09 | F12186000115 | 517793557 |  |  | 39.60 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.00 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 49.93 | 0.00 | 5200.80 | 21.40 | 5033 | Testing | 5033
2020-06-17 05:10 | F12186000115 | 517793557 |  |  | 507.20 | 2.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.20 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 0.00 | 5200.80 | 21.50 | 5033 | Testing | 5033
2020-06-17 05:16 | F12186000115 | 517793557 |  |  | 511.60 | 2.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.00 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 49.98 | 0.00 | 5200.80 | 21.70 | 5033 | Testing | 5033
2020-06-17 05:18 | F12186000115 | 517793557 |  |  | 513.40 | 2.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 136.50 | 137.00 | 0.00 | 0.00 | 0.00 | 0 | 50.01 | 0.00 | 5200.80 | 21.70 | 5033 | Testing | 5033
2020-06-17 05:24 | F12186000115 | 517793557 |  |  | 517.40 | 2.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.20 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 50.00 | 0.00 | 5200.80 | 21.80 | 5034 | Testing | 5034
2020-06-17 05:25 | F12186000115 | 517793557 |  |  | 518.60 | 2.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.00 | 0.00 | 0.00 | 0.00 | 0 | 49.96 | 0.00 | 5200.80 | 21.80 | 5034 | Testing | 5034
2020-06-17 05:31 | F12186000115 | 517793557 |  |  | 455.20 | 4.10 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.00 | 0.80 | 0.80 | 0.80 | 206 | 49.88 | 0.00 | 5200.80 | 22.10 | 5034 | Normal Operation | 5034
2020-06-17 05:33 | F12186000115 | 517793557 |  |  | 455.20 | 2.90 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 0.80 | 0.80 | 0.80 | 209 | 49.96 | 0.00 | 5200.80 | 22.20 | 5034 | Normal Operation | 5034
2020-06-17 05:39 | F12186000115 | 517793557 |  |  | 461.40 | 2.90 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 0.80 | 0.80 | 0.80 | 226 | 49.95 | 0.02 | 5200.90 | 22.70 | 5034 | Normal Operation | 5034
2020-06-17 05:41 | F12186000115 | 517793557 |  |  | 466.50 | 3.10 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 0.90 | 0.90 | 0.80 | 233 | 49.88 | 0.03 | 5200.90 | 22.80 | 5034 | Normal Operation | 5034
2020-06-17 05:42 | F12186000115 | 517793557 |  |  | 466.70 | 3.10 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 0.90 | 0.90 | 0.80 | 236 | 49.93 | 0.04 | 5200.90 | 23.00 | 5034 | Normal Operation | 5034
2020-06-17 05:48 | F12186000115 | 517793557 |  |  | 466.50 | 3.10 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 0.90 | 0.90 | 0.90 | 250 | 49.95 | 0.06 | 5200.90 | 23.50 | 5034 | Normal Operation | 5034
2020-06-17 05:54 | F12186000115 | 517793557 |  |  | 472.60 | 3.30 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.70 | 0.90 | 0.90 | 0.90 | 263 | 49.92 | 0.09 | 5200.90 | 24.10 | 5034 | Normal Operation | 5034
2020-06-17 05:56 | F12186000115 | 517793557 |  |  | 466.90 | 3.30 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 0.90 | 0.90 | 0.90 | 268 | 49.95 | 0.10 | 5200.90 | 24.30 | 5034 | Normal Operation | 5034
2020-06-17 06:02 | F12186000115 | 517793557 |  |  | 449.60 | 3.50 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.20 | 0.90 | 0.90 | 0.90 | 275 | 50.09 | 0.12 | 5201.00 | 24.70 | 5034 | Normal Operation | 5034
2020-06-17 06:04 | F12186000115 | 517793557 |  |  | 461.00 | 3.50 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.10 | 136.50 | 0.90 | 0.90 | 0.90 | 279 | 50.01 | 0.13 | 5201.00 | 24.90 | 5034 | Normal Operation | 5034
2020-06-17 06:10 | F12186000115 | 517793557 |  |  | 456.70 | 5.40 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.70 | 0.90 | 0.90 | 0.90 | 283 | 50.04 | 0.16 | 5201.00 | 25.30 | 5034 | Normal Operation | 5034
2020-06-17 06:10 | F12186000115 | 517793557 |  |  | 456.70 | 5.40 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.70 | 0.90 | 0.90 | 0.90 | 283 | 50.04 | 0.16 | 5201.00 | 25.30 | 5034 | Normal Operation | 5034
2020-06-17 06:10 | F12186000115 | 517793557 |  |  | 456.70 | 5.40 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.70 | 0.90 | 0.90 | 0.90 | 283 | 50.04 | 0.16 | 5201.00 | 25.30 | 5034 | Normal Operation | 5034
2020-06-17 06:10 | F12186000115 | 517793557 |  |  | 466.90 | 5.40 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.10 | 136.70 | 0.90 | 0.90 | 0.90 | 289 | 50.02 | 0.16 | 5201.00 | 25.40 | 5034 | Normal Operation | 5034
2020-06-17 06:17 | F12186000115 | 517793557 |  |  | 472.80 | 5.20 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.70 | 1.00 | 1.00 | 0.90 | 290 | 49.92 | 0.19 | 5201.00 | 25.70 | 5034 | Normal Operation | 5034
2020-06-17 06:18 | F12186000115 | 517793557 |  |  | 461.20 | 5.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 135.80 | 136.50 | 1.00 | 1.00 | 0.90 | 285 | 50.00 | 0.20 | 5201.00 | 25.90 | 5034 | Normal Operation | 5034
2020-06-17 06:24 | F12186000115 | 517793557 |  |  | 455.20 | 5.60 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.10 | 136.10 | 136.30 | 1.00 | 1.00 | 0.90 | 281 | 50.00 | 0.23 | 5201.10 | 26.20 | 5035 | Normal Operation | 5035
2020-06-17 06:26 | F12186000115 | 517793557 |  |  | 460.00 | 5.40 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 135.80 | 135.60 | 135.60 | 0.90 | 0.90 | 0.90 | 281 | 49.92 | 0.24 | 5201.10 | 26.30 | 5035 | Normal Operation | 5035
2020-06-17 06:32 | F12186000115 | 517793557 |  |  | 455.40 | 5.20 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.50 | 0.90 | 0.90 | 0.90 | 275 | 49.94 | 0.26 | 5201.10 | 26.70 | 5035 | Normal Operation | 5035
2020-06-17 06:33 | F12186000115 | 517793557 |  |  | 478.40 | 5.20 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.70 | 136.50 | 0.90 | 0.90 | 0.90 | 278 | 49.86 | 0.27 | 5201.10 | 26.90 | 5035 | Normal Operation | 5035
2020-06-17 06:40 | F12186000115 | 517793557 |  |  | 472.40 | 3.30 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 0.90 | 0.90 | 0.90 | 272 | 49.87 | 0.30 | 5201.10 | 27.30 | 5035 | Normal Operation | 5035
2020-06-17 06:41 | F12186000115 | 517793557 |  |  | 468.10 | 3.30 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.30 | 0.90 | 0.90 | 0.90 | 271 | 49.87 | 0.31 | 5201.20 | 27.40 | 5035 | Normal Operation | 5035
2020-06-17 06:47 | F12186000115 | 517793557 |  |  | 420.80 | 3.90 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.50 | 1.00 | 1.00 | 0.90 | 299 | 49.92 | 0.33 | 5201.20 | 27.80 | 5035 | Normal Operation | 5035
2020-06-17 06:49 | F12186000115 | 517793557 |  |  | 414.80 | 5.80 | 0.00 | 0.00 | 0.70 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 1.10 | 1.10 | 1.00 | 352 | 49.98 | 0.34 | 5201.20 | 27.90 | 5035 | Normal Operation | 5035
2020-06-17 06:55 | F12186000115 | 517793557 |  |  | 409.50 | 5.00 | 0.00 | 0.00 | 0.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 1.20 | 1.20 | 1.10 | 401 | 49.92 | 0.38 | 5201.20 | 28.50 | 5035 | Normal Operation | 5035
2020-06-17 06:56 | F12186000115 | 517793557 |  |  | 414.60 | 4.10 | 0.00 | 0.00 | 0.80 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 1.20 | 1.20 | 1.20 | 427 | 50.03 | 0.39 | 5201.20 | 28.70 | 5035 | Normal Operation | 5035
2020-06-17 07:02 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 0.90 | 0.00 | 0.00 | 0.00 | 137.00 | 136.10 | 136.70 | 1.30 | 1.30 | 1.30 | 466 | 50.07 | 0.43 | 5201.30 | 29.10 | 5035 | Normal Operation | 5035
2020-06-17 07:04 | F12186000115 | 517793557 |  |  | 419.60 | 3.10 | 0.00 | 0.00 | 1.00 | 0.00 | 0.00 | 0.00 | 136.70 | 135.80 | 136.50 | 1.30 | 1.30 | 1.30 | 483 | 50.02 | 0.45 | 5201.30 | 29.30 | 5035 | Normal Operation | 5035
2020-06-17 07:10 | F12186000115 | 517793557 |  |  | 416.60 | 3.10 | 0.00 | 0.00 | 1.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 1.40 | 1.40 | 1.40 | 519 | 50.10 | 0.50 | 5201.30 | 29.70 | 5035 | Normal Operation | 5035
2020-06-17 07:12 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 1.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 1.40 | 1.40 | 1.40 | 534 | 50.11 | 0.52 | 5201.40 | 30.00 | 5035 | Normal Operation | 5035
2020-06-17 07:13 | F12186000115 | 517793557 |  |  | 420.80 | 3.30 | 0.00 | 0.00 | 1.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 1.40 | 1.40 | 1.40 | 550 | 50.10 | 0.53 | 5201.40 | 30.00 | 5035 | Normal Operation | 5035
2020-06-17 07:14 | F12186000115 | 517793557 |  |  | 420.90 | 5.20 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 137.00 | 1.50 | 1.50 | 1.50 | 572 | 50.14 | 0.54 | 5201.40 | 30.20 | 5035 | Normal Operation | 5035
2020-06-17 07:20 | F12186000115 | 517793557 |  |  | 424.90 | 5.80 | 0.00 | 0.00 | 1.40 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 136.70 | 1.60 | 1.60 | 1.60 | 620 | 50.10 | 0.60 | 5201.40 | 30.70 | 5035 | Normal Operation | 5035
2020-06-17 07:22 | F12186000115 | 517793557 |  |  | 420.20 | 5.80 | 0.00 | 0.00 | 1.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 1.70 | 1.70 | 1.70 | 639 | 50.14 | 0.62 | 5201.50 | 30.90 | 5036 | Normal Operation | 5036
2020-06-17 07:28 | F12186000115 | 517793557 |  |  | 432.00 | 5.20 | 0.00 | 0.00 | 1.50 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.50 | 1.70 | 1.70 | 1.70 | 670 | 50.03 | 0.68 | 5201.50 | 31.30 | 5036 | Normal Operation | 5036
2020-06-17 07:30 | F12186000115 | 517793557 |  |  | 403.00 | 6.00 | 0.00 | 0.00 | 1.70 | 0.00 | 0.00 | 0.00 | 136.30 | 135.80 | 136.50 | 1.80 | 1.80 | 1.80 | 689 | 50.06 | 0.70 | 5201.50 | 31.50 | 5036 | Normal Operation | 5036
2020-06-17 07:31 | F12186000115 | 517793557 |  |  | 408.90 | 5.80 | 0.00 | 0.00 | 1.70 | 0.00 | 0.00 | 0.00 | 136.30 | 135.80 | 136.70 | 1.80 | 1.80 | 1.80 | 706 | 50.08 | 0.72 | 5201.60 | 31.60 | 5036 | Normal Operation | 5036
2020-06-17 07:38 | F12186000115 | 517793557 |  |  | 408.70 | 4.20 | 0.00 | 0.00 | 1.80 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.50 | 1.90 | 1.90 | 1.90 | 756 | 49.99 | 0.79 | 5201.60 | 32.20 | 5036 | Normal Operation | 5036
2020-06-17 07:39 | F12186000115 | 517793557 |  |  | 403.00 | 3.30 | 0.00 | 0.00 | 1.90 | 0.00 | 0.00 | 0.00 | 135.80 | 135.80 | 136.50 | 1.90 | 1.90 | 1.90 | 766 | 49.96 | 0.82 | 5201.70 | 32.50 | 5036 | Normal Operation | 5036
2020-06-17 07:45 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 1.90 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.30 | 2.00 | 2.00 | 2.00 | 810 | 50.01 | 0.89 | 5201.70 | 33.00 | 5036 | Normal Operation | 5036
2020-06-17 07:47 | F12186000115 | 517793557 |  |  | 408.90 | 3.30 | 0.00 | 0.00 | 2.00 | 0.00 | 0.00 | 0.00 | 136.10 | 135.40 | 136.30 | 2.10 | 2.10 | 2.10 | 832 | 49.94 | 0.92 | 5201.80 | 33.20 | 5036 | Normal Operation | 5036
2020-06-17 07:48 | F12186000115 | 517793557 |  |  | 408.50 | 3.30 | 0.00 | 0.00 | 2.00 | 0.00 | 0.00 | 0.00 | 135.80 | 135.20 | 136.10 | 2.10 | 2.10 | 2.10 | 847 | 49.99 | 0.94 | 5201.80 | 33.30 | 5036 | Normal Operation | 5036
2020-06-17 07:55 | F12186000115 | 517793557 |  |  | 396.00 | 3.70 | 0.00 | 0.00 | 2.20 | 0.00 | 0.00 | 0.00 | 135.80 | 135.60 | 135.80 | 2.30 | 2.30 | 2.20 | 902 | 49.97 | 1.02 | 5201.90 | 33.80 | 5036 | Normal Operation | 5036
2020-06-17 07:55 | F12186000115 | 517793557 |  |  | 396.90 | 3.50 | 0.00 | 0.00 | 2.20 | 0.00 | 0.00 | 0.00 | 135.60 | 135.40 | 135.80 | 2.30 | 2.30 | 2.30 | 914 | 50.00 | 1.05 | 5201.90 | 33.90 | 5036 | Normal Operation | 5036
2020-06-17 07:56 | F12186000115 | 517793557 |  |  | 426.10 | 3.50 | 0.00 | 0.00 | 2.10 | 0.00 | 0.00 | 0.00 | 135.60 | 135.20 | 135.60 | 2.40 | 2.30 | 2.30 | 942 | 49.98 | 1.06 | 5201.90 | 34.00 | 5036 | Normal Operation | 5036
2020-06-17 08:03 | F12186000115 | 517793557 |  |  | 425.90 | 2.70 | 0.00 | 0.00 | 2.40 | 0.00 | 0.00 | 0.00 | 135.60 | 135.40 | 135.40 | 2.50 | 2.50 | 2.50 | 1021 | 49.96 | 1.15 | 5202.00 | 34.70 | 5036 | Normal Operation | 5036
2020-06-17 08:03 | F12186000115 | 517793557 |  |  | 443.80 | 2.90 | 0.00 | 0.00 | 2.20 | 0.00 | 0.00 | 0.00 | 135.80 | 135.60 | 136.10 | 2.50 | 2.50 | 2.50 | 1018 | 50.04 | 1.18 | 5202.00 | 34.90 | 5036 | Normal Operation | 5036
2020-06-17 08:10 | F12186000115 | 517793557 |  |  | 472.40 | 3.10 | 0.00 | 0.00 | 1.90 | 0.00 | 0.00 | 0.00 | 135.40 | 135.40 | 135.80 | 2.40 | 2.40 | 2.40 | 945 | 50.03 | 1.27 | 5202.10 | 35.30 | 5036 | Normal Operation | 5036
2020-06-17 08:16 | F12186000115 | 517793557 |  |  | 416.50 | 2.90 | 0.00 | 0.00 | 2.80 | 0.00 | 0.00 | 0.00 | 135.40 | 135.40 | 135.80 | 2.90 | 2.90 | 2.90 | 1156 | 49.98 | 1.38 | 5202.20 | 35.70 | 5036 | Normal Operation | 5036
2020-06-17 08:17 | F12186000115 | 517793557 |  |  | 412.50 | 3.10 | 0.00 | 0.00 | 2.80 | 0.00 | 0.00 | 0.00 | 136.10 | 135.60 | 136.10 | 2.90 | 2.90 | 2.90 | 1180 | 49.98 | 1.42 | 5202.30 | 35.90 | 5036 | Normal Operation | 5036
2020-06-17 08:23 | F12186000115 | 517793557 |  |  | 422.10 | 3.10 | 0.00 | 0.00 | 2.90 | 0.00 | 0.00 | 0.00 | 135.80 | 135.80 | 136.30 | 3.00 | 3.00 | 3.00 | 1243 | 50.01 | 1.53 | 5202.40 | 36.50 | 5037 | Normal Operation | 5037
2020-06-17 08:25 | F12186000115 | 517793557 |  |  | 420.80 | 3.10 | 0.00 | 0.00 | 3.00 | 0.00 | 0.00 | 0.00 | 135.40 | 135.60 | 135.80 | 3.20 | 3.20 | 3.20 | 1286 | 49.98 | 1.57 | 5202.40 | 36.80 | 5037 | Normal Operation | 5037
2020-06-17 08:31 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 3.10 | 0.00 | 0.00 | 0.00 | 135.80 | 135.60 | 135.80 | 3.30 | 3.30 | 3.30 | 1344 | 50.00 | 1.69 | 5202.50 | 37.50 | 5037 | Normal Operation | 5037
2020-06-17 08:31 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 3.10 | 0.00 | 0.00 | 0.00 | 135.80 | 135.60 | 135.80 | 3.30 | 3.30 | 3.30 | 1344 | 50.00 | 1.69 | 5202.50 | 37.50 | 5037 | Normal Operation | 5037
2020-06-17 08:32 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 3.20 | 0.00 | 0.00 | 0.00 | 135.80 | 135.60 | 135.80 | 3.30 | 3.30 | 3.30 | 1357 | 50.02 | 1.74 | 5202.60 | 37.80 | 5037 | Normal Operation | 5037
2020-06-17 08:33 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 3.20 | 0.00 | 0.00 | 0.00 | 135.60 | 135.60 | 135.60 | 3.30 | 3.30 | 3.30 | 1355 | 49.94 | 1.77 | 5202.60 | 37.90 | 5037 | Normal Operation | 5037
2020-06-17 08:42 | F12186000115 | 517793557 |  |  | 418.60 | 3.10 | 0.00 | 0.00 | 3.50 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.10 | 3.50 | 3.50 | 3.50 | 1442 | 50.00 | 1.96 | 5202.80 | 38.90 | 5037 | Normal Operation | 5037
2020-06-17 08:49 | F12186000115 | 517793557 |  |  | 419.20 | 3.10 | 0.00 | 0.00 | 3.60 | 0.00 | 0.00 | 0.00 | 135.60 | 136.10 | 136.10 | 3.70 | 3.70 | 3.60 | 1496 | 49.93 | 2.11 | 5203.00 | 39.60 | 5037 | Normal Operation | 5037
2020-06-17 08:50 | F12186000115 | 517793557 |  |  | 415.90 | 3.10 | 0.00 | 0.00 | 3.70 | 0.00 | 0.00 | 0.00 | 135.80 | 135.80 | 136.30 | 3.70 | 3.70 | 3.70 | 1523 | 49.98 | 2.16 | 5203.00 | 39.80 | 5037 | Normal Operation | 5037
2020-06-17 08:56 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 3.80 | 0.00 | 0.00 | 0.00 | 135.60 | 135.80 | 135.80 | 3.80 | 3.90 | 3.80 | 1579 | 49.98 | 2.31 | 5203.20 | 40.40 | 5037 | Normal Operation | 5037
2020-06-17 08:58 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 3.90 | 0.00 | 0.00 | 0.00 | 135.60 | 135.80 | 135.80 | 3.80 | 3.90 | 3.90 | 1592 | 49.95 | 2.36 | 5203.20 | 40.70 | 5037 | Normal Operation | 5037
2020-06-17 09:04 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 4.00 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.10 | 4.00 | 4.00 | 4.00 | 1657 | 49.89 | 2.51 | 5203.40 | 41.20 | 5037 | Normal Operation | 5037
2020-06-17 09:05 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 4.10 | 0.00 | 0.00 | 0.00 | 135.80 | 135.80 | 135.60 | 4.10 | 4.10 | 4.10 | 1693 | 49.93 | 2.57 | 5203.40 | 41.50 | 5037 | Normal Operation | 5037
2020-06-17 09:11 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 4.10 | 0.00 | 0.00 | 0.00 | 136.10 | 136.10 | 136.10 | 4.20 | 4.20 | 4.20 | 1726 | 49.93 | 2.72 | 5203.60 | 42.00 | 5037 | Normal Operation | 5037
2020-06-17 09:13 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 4.20 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.30 | 4.20 | 4.20 | 4.20 | 1735 | 49.95 | 2.78 | 5203.60 | 42.20 | 5037 | Normal Operation | 5037
2020-06-17 09:19 | F12186000115 | 517793557 |  |  | 414.40 | 3.10 | 0.00 | 0.00 | 4.30 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.70 | 4.40 | 4.40 | 4.40 | 1796 | 49.94 | 2.94 | 5203.80 | 42.80 | 5037 | Normal Operation | 5037
2020-06-17 09:20 | F12186000115 | 517793557 |  |  | 408.40 | 3.10 | 0.00 | 0.00 | 4.40 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.50 | 4.40 | 4.40 | 4.40 | 1806 | 49.94 | 3.00 | 5203.80 | 43.00 | 5037 | Normal Operation | 5037
2020-06-17 09:29 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 4.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 4.60 | 4.50 | 4.50 | 1875 | 50.01 | 3.25 | 5204.10 | 43.20 | 5038 | Normal Operation | 5038
2020-06-17 09:29 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 4.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 4.60 | 4.50 | 4.50 | 1875 | 50.01 | 3.25 | 5204.10 | 43.20 | 5038 | Normal Operation | 5038
2020-06-17 09:29 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 4.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 4.60 | 4.50 | 4.50 | 1875 | 50.01 | 3.25 | 5204.10 | 43.20 | 5038 | Normal Operation | 5038
2020-06-17 09:31 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 4.50 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.50 | 4.60 | 4.60 | 4.60 | 1904 | 50.01 | 3.31 | 5204.20 | 42.00 | 5038 | Normal Operation | 5038
2020-06-17 09:37 | F12186000115 | 517793557 |  |  | 408.40 | 3.10 | 0.00 | 0.00 | 4.80 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.00 | 4.70 | 4.70 | 4.70 | 1950 | 50.00 | 3.49 | 5204.30 | 40.00 | 5038 | Normal Operation | 5038
2020-06-17 09:38 | F12186000115 | 517793557 |  |  | 403.40 | 3.10 | 0.00 | 0.00 | 4.90 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.00 | 4.70 | 4.70 | 4.70 | 1944 | 50.05 | 3.56 | 5204.40 | 39.40 | 5038 | Normal Operation | 5038
2020-06-17 09:44 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 4.80 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 4.80 | 4.90 | 4.80 | 2006 | 50.00 | 3.74 | 5204.60 | 40.60 | 5038 | Normal Operation | 5038
2020-06-17 09:45 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 5.00 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 137.00 | 4.90 | 4.90 | 4.90 | 2031 | 50.00 | 3.79 | 5204.60 | 41.10 | 5038 | Normal Operation | 5038
2020-06-17 09:51 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 5.00 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 5.10 | 5.10 | 5.10 | 2106 | 49.97 | 3.98 | 5204.80 | 42.40 | 5038 | Normal Operation | 5038
2020-06-17 09:53 | F12186000115 | 517793557 |  |  | 411.70 | 3.10 | 0.00 | 0.00 | 5.10 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 5.10 | 5.10 | 5.10 | 2103 | 49.99 | 4.06 | 5204.90 | 42.90 | 5038 | Normal Operation | 5038
2020-06-17 09:59 | F12186000115 | 517793557 |  |  | 408.50 | 3.10 | 0.00 | 0.00 | 5.20 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.50 | 5.20 | 5.20 | 5.20 | 2134 | 49.99 | 4.25 | 5205.10 | 42.40 | 5038 | Normal Operation | 5038
2020-06-17 10:00 | F12186000115 | 517793557 |  |  | 402.80 | 3.10 | 0.00 | 0.00 | 5.30 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 5.20 | 5.20 | 5.20 | 2152 | 50.03 | 4.33 | 5205.20 | 41.50 | 5038 | Normal Operation | 5038
2020-06-17 10:02 | F12186000115 | 517793557 |  |  | 403.00 | 3.10 | 0.00 | 0.00 | 5.40 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.50 | 5.20 | 5.30 | 5.20 | 2162 | 49.98 | 4.37 | 5205.20 | 41.20 | 5038 | Normal Operation | 5038
2020-06-17 10:10 | F12186000115 | 517793557 |  |  | 396.90 | 3.10 | 0.00 | 0.00 | 5.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 5.30 | 5.30 | 5.30 | 2210 | 50.01 | 4.66 | 5205.50 | 39.50 | 5038 | Normal Operation | 5038
2020-06-17 10:16 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 5.40 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.50 | 5.60 | 5.60 | 5.60 | 2316 | 49.95 | 4.89 | 5205.70 | 38.80 | 5038 | Normal Operation | 5038
2020-06-17 10:18 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 5.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 5.70 | 5.70 | 5.70 | 2349 | 49.96 | 4.98 | 5205.80 | 38.90 | 5038 | Normal Operation | 5038
2020-06-17 10:24 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 5.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.20 | 5.70 | 5.80 | 5.80 | 2386 | 50.02 | 5.19 | 5206.00 | 41.00 | 5039 | Normal Operation | 5039
2020-06-17 10:25 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 5.90 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 137.00 | 5.80 | 5.80 | 5.80 | 2414 | 50.00 | 5.28 | 5206.10 | 41.60 | 5039 | Normal Operation | 5039
2020-06-17 10:32 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 5.90 | 0.00 | 0.00 | 0.00 | 136.50 | 135.60 | 136.70 | 5.80 | 5.80 | 5.80 | 2412 | 50.02 | 5.50 | 5206.30 | 42.30 | 5039 | Normal Operation | 5039
2020-06-17 10:32 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 5.90 | 0.00 | 0.00 | 0.00 | 136.50 | 135.80 | 136.70 | 5.80 | 5.90 | 5.90 | 2426 | 50.02 | 5.56 | 5206.40 | 41.80 | 5039 | Normal Operation | 5039
2020-06-17 10:39 | F12186000115 | 517793557 |  |  | 414.40 | 2.90 | 0.00 | 0.00 | 6.00 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.50 | 5.90 | 5.90 | 5.90 | 2448 | 50.02 | 5.78 | 5206.60 | 40.40 | 5039 | Normal Operation | 5039
2020-06-17 10:40 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 6.10 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 5.90 | 6.00 | 5.90 | 2462 | 50.06 | 5.87 | 5206.70 | 40.10 | 5039 | Normal Operation | 5039
2020-06-17 10:42 | F12186000115 | 517793557 |  |  | 403.00 | 3.10 | 0.00 | 0.00 | 6.10 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.50 | 5.90 | 5.90 | 5.80 | 2426 | 50.00 | 5.94 | 5206.80 | 39.90 | 5039 | Normal Operation | 5039
2020-06-17 10:48 | F12186000115 | 517793557 |  |  | 408.70 | 3.10 | 0.00 | 0.00 | 6.20 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 6.00 | 6.10 | 6.10 | 2517 | 49.99 | 6.17 | 5207.00 | 39.40 | 5039 | Normal Operation | 5039
2020-06-17 10:49 | F12186000115 | 517793557 |  |  | 412.50 | 3.10 | 0.00 | 0.00 | 3.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.50 | 3.70 | 3.70 | 3.70 | 1612 | 49.99 | 6.23 | 5207.10 | 39.30 | 5039 | Normal Operation | 5039
2020-06-17 10:51 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 6.30 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 6.30 | 6.30 | 6.20 | 2599 | 49.99 | 6.30 | 5207.10 | 39.50 | 5039 | Normal Operation | 5039
2020-06-17 10:52 | F12186000115 | 517793557 |  |  | 408.00 | 3.10 | 0.00 | 0.00 | 6.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 6.30 | 6.30 | 6.30 | 2608 | 50.00 | 6.34 | 5207.20 | 40.00 | 5039 | Normal Operation | 5039
2020-06-17 10:54 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 6.20 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 6.20 | 6.30 | 6.20 | 2583 | 49.97 | 6.42 | 5207.30 | 40.80 | 5039 | Normal Operation | 5039
2020-06-17 11:00 | F12186000115 | 517793557 |  |  | 408.40 | 3.10 | 0.00 | 0.00 | 6.40 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 136.70 | 6.30 | 6.30 | 6.30 | 2605 | 50.04 | 6.65 | 5207.50 | 42.20 | 5039 | Normal Operation | 5039
2020-06-17 11:02 | F12186000115 | 517793557 |  |  | 408.20 | 3.10 | 0.00 | 0.00 | 6.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 6.30 | 6.30 | 6.30 | 2609 | 49.99 | 6.75 | 5207.60 | 41.70 | 5039 | Normal Operation | 5039
2020-06-17 11:08 | F12186000115 | 517793557 |  |  | 408.70 | 2.90 | 0.00 | 0.00 | 6.60 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 136.70 | 6.50 | 6.50 | 6.50 | 2687 | 50.01 | 6.99 | 5207.80 | 40.60 | 5039 | Normal Operation | 5039
2020-06-17 11:09 | F12186000115 | 517793557 |  |  | 411.70 | 3.10 | 0.00 | 0.00 | 6.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.10 | 136.70 | 6.50 | 6.50 | 6.50 | 2688 | 50.00 | 7.06 | 5207.90 | 40.40 | 5039 | Normal Operation | 5039
2020-06-17 11:15 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 6.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.50 | 6.50 | 6.50 | 6.50 | 2701 | 49.97 | 7.30 | 5208.10 | 40.00 | 5039 | Normal Operation | 5039
2020-06-17 11:16 | F12186000115 | 517793557 |  |  | 408.50 | 3.10 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.70 | 6.50 | 6.60 | 6.60 | 2718 | 50.01 | 7.40 | 5208.20 | 39.90 | 5039 | Normal Operation | 5039
2020-06-17 11:18 | F12186000115 | 517793557 |  |  | 403.20 | 3.10 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.50 | 6.50 | 6.50 | 6.50 | 2705 | 49.97 | 7.48 | 5208.30 | 39.80 | 5039 | Normal Operation | 5039
2020-06-17 11:19 | F12186000115 | 517793557 |  |  | 403.20 | 3.10 | 0.00 | 0.00 | 6.80 | 0.00 | 0.00 | 0.00 | 136.30 | 135.80 | 136.70 | 6.60 | 6.60 | 6.60 | 2731 | 49.97 | 7.52 | 5208.40 | 39.80 | 5039 | Normal Operation | 5039
2020-06-17 11:28 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 6.30 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 6.50 | 6.50 | 6.50 | 2684 | 50.01 | 7.91 | 5208.80 | 39.60 | 5040 | Normal Operation | 5040
2020-06-17 11:29 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 136.30 | 135.80 | 136.50 | 7.00 | 7.00 | 7.00 | 2888 | 49.96 | 8.00 | 5208.80 | 39.50 | 5040 | Normal Operation | 5040
2020-06-17 11:31 | F12186000115 | 517793557 |  |  | 426.10 | 3.10 | 0.00 | 0.00 | 6.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.50 | 7.00 | 7.10 | 7.00 | 2914 | 49.96 | 8.08 | 5208.90 | 39.60 | 5040 | Normal Operation | 5040
2020-06-17 11:32 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 6.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 137.00 | 7.00 | 7.10 | 7.00 | 2920 | 50.00 | 8.13 | 5209.00 | 39.60 | 5040 | Normal Operation | 5040
2020-06-17 11:41 | F12186000115 | 517793557 |  |  | 420.40 | 2.90 | 0.00 | 0.00 | 7.10 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 7.20 | 7.20 | 7.10 | 2958 | 50.01 | 8.54 | 5209.40 | 39.70 | 5040 | Normal Operation | 5040
2020-06-17 11:42 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 7.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.10 | 137.00 | 7.10 | 7.20 | 7.20 | 2989 | 50.01 | 8.61 | 5209.50 | 39.70 | 5040 | Normal Operation | 5040
2020-06-17 11:50 | F12186000115 | 517793557 |  |  | 432.40 | 4.20 | 0.00 | 0.00 | 7.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 7.70 | 7.70 | 7.70 | 3192 | 50.01 | 8.85 | 5209.70 | 40.30 | 5040 | Normal Operation | 5040
2020-06-17 11:57 | F12186000115 | 517793557 |  |  | 426.50 | 3.10 | 0.00 | 0.00 | 7.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 7.40 | 7.50 | 7.40 | 3072 | 49.95 | 9.17 | 5210.00 | 41.10 | 5040 | Normal Operation | 5040
2020-06-17 11:58 | F12186000115 | 517793557 |  |  | 432.00 | 3.10 | 0.00 | 0.00 | 7.10 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 7.40 | 7.40 | 7.40 | 3070 | 49.95 | 9.28 | 5210.10 | 40.80 | 5040 | Normal Operation | 5040
2020-06-17 12:04 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 7.70 | 7.70 | 7.70 | 3204 | 49.99 | 9.56 | 5210.40 | 40.40 | 5040 | Normal Operation | 5040
2020-06-17 12:06 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 7.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 7.50 | 7.50 | 7.50 | 3104 | 50.00 | 9.68 | 5210.50 | 40.30 | 5040 | Normal Operation | 5040
2020-06-17 12:07 | F12186000115 | 517793557 |  |  | 414.60 | 2.90 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 7.50 | 7.50 | 7.50 | 3121 | 50.01 | 9.73 | 5210.60 | 40.30 | 5040 | Normal Operation | 5040
2020-06-17 12:13 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 137.20 | 136.50 | 136.70 | 7.70 | 7.70 | 7.70 | 3189 | 50.03 | 10.00 | 5210.80 | 40.10 | 5040 | Normal Operation | 5040
2020-06-17 12:15 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 7.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.50 | 7.80 | 7.80 | 7.90 | 3257 | 50.02 | 10.12 | 5211.00 | 40.20 | 5040 | Normal Operation | 5040
2020-06-17 12:16 | F12186000115 | 517793557 |  |  | 414.20 | 3.10 | 0.00 | 0.00 | 1.00 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.10 | 1.40 | 1.40 | 1.30 | 498 | 50.04 | 10.14 | 5211.00 | 39.30 | 5040 | Normal Operation | 5040
2020-06-17 12:22 | F12186000115 | 517793557 |  |  | 421.90 | 3.10 | 0.00 | 0.00 | 6.10 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.30 | 6.10 | 6.10 | 6.10 | 2501 | 50.01 | 10.34 | 5211.20 | 41.00 | 5041 | Normal Operation | 5041
2020-06-17 12:24 | F12186000115 | 517793557 |  |  | 414.80 | 3.30 | 0.00 | 0.00 | 1.60 | 0.00 | 0.00 | 0.00 | 136.10 | 136.30 | 136.30 | 1.80 | 1.80 | 1.80 | 707 | 49.96 | 10.39 | 5211.20 | 40.30 | 5041 | Normal Operation | 5041
2020-06-17 12:30 | F12186000115 | 517793557 |  |  | 414.60 | 3.30 | 0.00 | 0.00 | 0.90 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.30 | 1.30 | 1.30 | 1.30 | 486 | 50.00 | 10.58 | 5211.40 | 40.40 | 5041 | Normal Operation | 5041
2020-06-17 12:32 | F12186000115 | 517793557 |  |  | 385.30 | 3.30 | 0.00 | 0.00 | 8.40 | 0.00 | 0.00 | 0.00 | 136.50 | 136.70 | 137.00 | 7.70 | 7.70 | 7.70 | 3195 | 50.03 | 10.62 | 5211.50 | 40.20 | 5041 | Normal Operation | 5041
2020-06-17 12:33 | F12186000115 | 517793557 |  |  | 438.10 | 3.10 | 0.00 | 0.00 | 7.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.70 | 137.00 | 8.40 | 8.30 | 8.40 | 3474 | 50.05 | 10.66 | 5211.50 | 40.90 | 5041 | Normal Operation | 5041
2020-06-17 12:34 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 7.70 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.00 | 8.10 | 8.10 | 8.00 | 3340 | 50.06 | 10.76 | 5211.60 | 41.60 | 5041 | Normal Operation | 5041
2020-06-17 12:40 | F12186000115 | 517793557 |  |  | 426.10 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.50 | 7.80 | 7.80 | 7.80 | 3233 | 50.02 | 11.06 | 5211.90 | 41.00 | 5041 | Normal Operation | 5041
2020-06-17 12:42 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 7.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 136.70 | 7.80 | 7.80 | 7.80 | 3240 | 50.06 | 11.17 | 5212.00 | 40.80 | 5041 | Normal Operation | 5041
2020-06-17 12:48 | F12186000115 | 517793557 |  |  | 420.80 | 3.10 | 0.00 | 0.00 | 7.80 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 7.90 | 8.00 | 7.90 | 3297 | 50.06 | 11.47 | 5212.30 | 40.50 | 5041 | Normal Operation | 5041
2020-06-17 12:50 | F12186000115 | 517793557 |  |  | 415.00 | 3.10 | 0.00 | 0.00 | 8.10 | 0.00 | 0.00 | 0.00 | 136.70 | 136.10 | 136.50 | 8.00 | 8.00 | 8.00 | 3311 | 50.00 | 11.59 | 5212.40 | 40.50 | 5041 | Normal Operation | 5041
2020-06-17 12:51 | F12186000115 | 517793557 |  |  | 420.40 | 2.90 | 0.00 | 0.00 | 7.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 8.00 | 8.10 | 8.00 | 3341 | 50.02 | 11.69 | 5212.50 | 40.50 | 5041 | Normal Operation | 5041
2020-06-17 12:57 | F12186000115 | 517793557 |  |  | 437.90 | 3.10 | 0.00 | 0.00 | 6.80 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.50 | 7.30 | 7.30 | 7.30 | 3004 | 50.07 | 11.97 | 5212.80 | 40.20 | 5041 | Normal Operation | 5041
2020-06-17 13:04 | F12186000115 | 517793557 |  |  | 415.20 | 2.90 | 0.00 | 0.00 | 8.10 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 8.00 | 8.00 | 8.00 | 3308 | 49.99 | 12.31 | 5213.20 | 40.30 | 5041 | Normal Operation | 5041
2020-06-17 13:05 | F12186000115 | 517793557 |  |  | 414.60 | 2.90 | 0.00 | 0.00 | 8.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.10 | 137.00 | 8.10 | 8.10 | 8.10 | 3375 | 50.00 | 12.43 | 5213.30 | 40.40 | 5041 | Normal Operation | 5041
2020-06-17 13:11 | F12186000115 | 517793557 |  |  | 414.60 | 2.90 | 0.00 | 0.00 | 8.50 | 0.00 | 0.00 | 0.00 | 136.30 | 135.80 | 136.50 | 8.50 | 8.40 | 8.50 | 3500 | 49.99 | 12.74 | 5213.60 | 40.50 | 5041 | Normal Operation | 5041
2020-06-17 13:13 | F12186000115 | 517793557 |  |  | 368.70 | 4.10 | 0.00 | 0.00 | 3.60 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 137.00 | 3.10 | 3.20 | 3.20 | 1269 | 49.99 | 12.80 | 5213.60 | 39.50 | 5041 | Normal Operation | 5041
2020-06-17 13:19 | F12186000115 | 517793557 |  |  | 421.30 | 5.60 | 0.00 | 0.00 | 0.90 | 0.00 | 0.00 | 0.00 | 136.30 | 135.80 | 136.30 | 1.30 | 1.30 | 1.30 | 486 | 49.97 | 12.87 | 5213.70 | 39.70 | 5041 | Normal Operation | 5041
2020-06-17 13:25 | F12186000115 | 517793557 |  |  | 426.50 | 3.70 | 0.00 | 0.00 | 1.40 | 0.00 | 0.00 | 0.00 | 136.50 | 135.80 | 136.30 | 1.70 | 1.70 | 1.70 | 649 | 50.04 | 12.99 | 5213.80 | 40.80 | 5042 | Normal Operation | 5042
2020-06-17 13:26 | F12186000115 | 517793557 |  |  | 441.60 | 3.70 | 0.00 | 0.00 | 1.50 | 0.00 | 0.00 | 0.00 | 136.10 | 135.80 | 136.30 | 1.80 | 1.80 | 1.80 | 711 | 50.02 | 13.00 | 5213.80 | 40.80 | 5042 | Normal Operation | 5042
2020-06-17 13:35 | F12186000115 | 517793557 |  |  | 438.10 | 3.50 | 0.00 | 0.00 | 8.10 | 0.00 | 0.00 | 0.00 | 137.20 | 137.00 | 137.60 | 8.50 | 8.50 | 8.40 | 3538 | 50.02 | 13.15 | 5214.00 | 41.40 | 5042 | Normal Operation | 5042
2020-06-17 13:41 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 8.30 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.20 | 8.30 | 8.30 | 8.30 | 3463 | 50.06 | 13.51 | 5214.40 | 41.50 | 5042 | Normal Operation | 5042
2020-06-17 13:42 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 8.20 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 137.00 | 8.10 | 8.10 | 8.10 | 3363 | 50.05 | 13.63 | 5214.50 | 41.20 | 5042 | Normal Operation | 5042
2020-06-17 13:48 | F12186000115 | 517793557 |  |  | 402.80 | 2.90 | 0.00 | 0.00 | 8.40 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.00 | 8.10 | 8.10 | 8.10 | 3371 | 50.02 | 13.94 | 5214.80 | 40.70 | 5042 | Normal Operation | 5042
2020-06-17 13:50 | F12186000115 | 517793557 |  |  | 408.40 | 3.10 | 0.00 | 0.00 | 2.20 | 0.00 | 0.00 | 0.00 | 136.50 | 135.80 | 136.70 | 2.30 | 2.30 | 2.30 | 940 | 50.04 | 14.06 | 5214.90 | 40.60 | 5042 | Normal Operation | 5042
2020-06-17 13:51 | F12186000115 | 517793557 |  |  | 350.60 | 3.70 | 0.00 | 0.00 | 1.90 | 0.00 | 0.00 | 0.00 | 137.00 | 136.10 | 137.20 | 1.80 | 1.80 | 1.80 | 705 | 50.06 | 14.09 | 5214.90 | 40.10 | 5042 | Normal Operation | 5042
2020-06-17 14:00 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 8.80 | 0.00 | 0.00 | 0.00 | 137.20 | 137.00 | 137.40 | 9.10 | 9.00 | 9.00 | 3756 | 50.01 | 14.34 | 5215.20 | 40.50 | 5042 | Normal Operation | 5042
2020-06-17 14:01 | F12186000115 | 517793557 |  |  | 426.50 | 5.40 | 0.00 | 0.00 | 1.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 1.70 | 1.70 | 1.70 | 656 | 50.02 | 14.38 | 5215.20 | 40.60 | 5042 | Normal Operation | 5042
2020-06-17 14:07 | F12186000115 | 517793557 |  |  | 426.10 | 2.90 | 0.00 | 0.00 | 8.10 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.20 | 8.20 | 8.20 | 8.20 | 3423 | 50.03 | 14.65 | 5215.50 | 41.60 | 5042 | Normal Operation | 5042
2020-06-17 14:08 | F12186000115 | 517793557 |  |  | 423.50 | 2.90 | 0.00 | 0.00 | 7.90 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.40 | 8.00 | 8.00 | 8.00 | 3329 | 50.04 | 14.73 | 5215.60 | 41.30 | 5042 | Normal Operation | 5042
2020-06-17 14:14 | F12186000115 | 517793557 |  |  | 408.00 | 3.10 | 0.00 | 0.00 | 7.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.20 | 7.80 | 7.80 | 7.80 | 3232 | 50.04 | 15.03 | 5215.90 | 40.60 | 5042 | Normal Operation | 5042
2020-06-17 14:16 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 7.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.40 | 7.70 | 7.60 | 7.70 | 3183 | 50.03 | 15.14 | 5216.00 | 40.30 | 5042 | Normal Operation | 5042
2020-06-17 14:22 | F12186000115 | 517793557 |  |  | 414.80 | 2.90 | 0.00 | 0.00 | 7.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 136.70 | 7.70 | 7.60 | 7.70 | 3178 | 50.02 | 15.43 | 5216.30 | 40.00 | 5043 | Normal Operation | 5043
2020-06-17 14:23 | F12186000115 | 517793557 |  |  | 420.40 | 2.90 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 137.00 | 137.00 | 137.20 | 7.60 | 7.70 | 7.70 | 3178 | 50.06 | 15.51 | 5216.40 | 39.90 | 5043 | Normal Operation | 5043
2020-06-17 14:29 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 7.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 136.70 | 7.70 | 7.70 | 7.70 | 3208 | 50.00 | 15.80 | 5216.60 | 39.70 | 5043 | Normal Operation | 5043
2020-06-17 14:35 | F12186000115 | 517793557 |  |  | 367.70 | 3.10 | 0.00 | 0.00 | 7.40 | 0.00 | 0.00 | 0.00 | 136.70 | 137.00 | 137.40 | 6.40 | 6.40 | 6.40 | 2679 | 50.04 | 16.08 | 5216.90 | 39.00 | 5043 | Normal Operation | 5043
2020-06-17 14:37 | F12186000115 | 517793557 |  |  | 415.00 | 3.10 | 0.00 | 0.00 | 7.80 | 0.00 | 0.00 | 0.00 | 136.70 | 136.70 | 137.40 | 7.70 | 7.80 | 7.80 | 3230 | 50.05 | 16.19 | 5217.00 | 40.40 | 5043 | Normal Operation | 5043
2020-06-17 14:38 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 137.20 | 137.00 | 137.40 | 7.70 | 7.80 | 7.70 | 3214 | 50.05 | 16.28 | 5217.10 | 41.10 | 5043 | Normal Operation | 5043
2020-06-17 14:44 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.20 | 7.60 | 7.60 | 7.60 | 3156 | 50.06 | 16.56 | 5217.40 | 40.40 | 5043 | Normal Operation | 5043
2020-06-17 14:46 | F12186000115 | 517793557 |  |  | 418.00 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.20 | 7.60 | 7.60 | 7.60 | 3169 | 49.99 | 16.68 | 5217.50 | 40.20 | 5043 | Normal Operation | 5043
2020-06-17 14:52 | F12186000115 | 517793557 |  |  | 350.60 | 3.10 | 0.00 | 0.00 | 8.60 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.40 | 7.10 | 7.10 | 7.10 | 2937 | 50.07 | 16.95 | 5217.80 | 39.40 | 5043 | Normal Operation | 5043
2020-06-17 14:53 | F12186000115 | 517793557 |  |  | 408.90 | 3.30 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 1.50 | 1.50 | 1.50 | 584 | 50.04 | 16.99 | 5217.80 | 38.90 | 5043 | Normal Operation | 5043
2020-06-17 14:55 | F12186000115 | 517793557 |  |  | 426.10 | 3.10 | 0.00 | 0.00 | 7.50 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.20 | 7.60 | 7.70 | 7.70 | 3184 | 50.09 | 17.06 | 5217.90 | 39.70 | 5043 | Normal Operation | 5043
2020-06-17 15:01 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 7.50 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 137.00 | 7.40 | 7.40 | 7.30 | 3071 | 50.09 | 17.36 | 5218.20 | 40.90 | 5043 | Normal Operation | 5043
2020-06-17 15:07 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 7.50 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 136.70 | 7.40 | 7.40 | 7.40 | 3081 | 50.09 | 17.67 | 5218.50 | 40.00 | 5043 | Normal Operation | 5043
2020-06-17 15:08 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 7.50 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 136.70 | 7.40 | 7.40 | 7.40 | 3085 | 50.07 | 17.78 | 5218.60 | 39.80 | 5043 | Normal Operation | 5043
2020-06-17 15:15 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 7.60 | 0.00 | 0.00 | 0.00 | 137.40 | 137.00 | 137.60 | 7.60 | 7.50 | 7.60 | 3151 | 50.08 | 18.07 | 5218.90 | 39.50 | 5043 | Normal Operation | 5043
2020-06-17 15:21 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 7.80 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.90 | 7.60 | 7.60 | 7.60 | 3181 | 50.07 | 18.40 | 5219.20 | 39.40 | 5043 | Normal Operation | 5043
2020-06-17 15:22 | F12186000115 | 517793557 |  |  | 408.90 | 3.10 | 0.00 | 0.00 | 7.80 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.20 | 7.60 | 7.60 | 7.60 | 3175 | 50.10 | 18.49 | 5219.30 | 39.30 | 5044 | Normal Operation | 5044
2020-06-17 15:31 | F12186000115 | 517793557 |  |  | 420.40 | 3.30 | 0.00 | 0.00 | 0.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.00 | 1.20 | 1.20 | 1.10 | 407 | 50.04 | 18.61 | 5219.50 | 38.70 | 5044 | Normal Operation | 5044
2020-06-17 15:32 | F12186000115 | 517793557 |  |  | 420.80 | 3.30 | 0.00 | 0.00 | 0.80 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.00 | 1.20 | 1.20 | 1.20 | 444 | 50.11 | 18.63 | 5219.50 | 38.80 | 5044 | Normal Operation | 5044
2020-06-17 15:33 | F12186000115 | 517793557 |  |  | 443.80 | 3.30 | 0.00 | 0.00 | 0.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.00 | 1.40 | 1.40 | 1.40 | 505 | 50.07 | 18.64 | 5219.50 | 38.90 | 5044 | Normal Operation | 5044
2020-06-17 15:42 | F12186000115 | 517793557 |  |  | 419.60 | 3.10 | 0.00 | 0.00 | 7.10 | 0.00 | 0.00 | 0.00 | 137.20 | 136.50 | 137.40 | 7.10 | 7.10 | 7.10 | 2952 | 50.12 | 18.99 | 5219.80 | 41.90 | 5044 | Normal Operation | 5044
2020-06-17 15:43 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 6.80 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.40 | 7.10 | 7.10 | 7.00 | 2953 | 50.11 | 19.07 | 5219.90 | 41.50 | 5044 | Normal Operation | 5044
2020-06-17 15:52 | F12186000115 | 517793557 |  |  | 426.70 | 3.10 | 0.00 | 0.00 | 6.60 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.40 | 6.80 | 6.80 | 6.80 | 2846 | 50.12 | 19.45 | 5220.30 | 39.50 | 5044 | Normal Operation | 5044
2020-06-17 15:52 | F12186000115 | 517793557 |  |  | 426.70 | 3.10 | 0.00 | 0.00 | 6.60 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.40 | 6.80 | 6.80 | 6.80 | 2846 | 50.12 | 19.45 | 5220.30 | 39.50 | 5044 | Normal Operation | 5044
2020-06-17 15:52 | F12186000115 | 517793557 |  |  | 426.70 | 3.10 | 0.00 | 0.00 | 6.60 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.40 | 6.80 | 6.80 | 6.80 | 2846 | 50.12 | 19.45 | 5220.30 | 39.50 | 5044 | Normal Operation | 5044
2020-06-17 15:53 | F12186000115 | 517793557 |  |  | 419.60 | 3.10 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.00 | 6.80 | 6.80 | 6.80 | 2829 | 50.10 | 19.53 | 5220.40 | 39.30 | 5044 | Normal Operation | 5044
2020-06-17 16:01 | F12186000115 | 517793557 |  |  | 426.50 | 3.10 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 136.30 | 136.70 | 137.20 | 6.90 | 6.90 | 6.90 | 2873 | 50.04 | 19.91 | 5220.80 | 38.70 | 5044 | Normal Operation | 5044
2020-06-17 16:03 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 136.50 | 137.00 | 137.00 | 6.80 | 6.80 | 6.80 | 2823 | 50.05 | 19.99 | 5220.80 | 39.50 | 5044 | Normal Operation | 5044
2020-06-17 16:04 | F12186000115 | 517793557 |  |  | 426.10 | 3.10 | 0.00 | 0.00 | 6.50 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 137.00 | 6.70 | 6.80 | 6.80 | 2803 | 50.01 | 20.04 | 5220.90 | 40.00 | 5044 | Normal Operation | 5044
2020-06-17 16:13 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 6.50 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.20 | 6.60 | 6.70 | 6.70 | 2766 | 50.03 | 20.42 | 5221.30 | 41.00 | 5044 | Normal Operation | 5044
2020-06-17 16:14 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 6.60 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.40 | 6.70 | 6.70 | 6.70 | 2779 | 50.02 | 20.50 | 5221.30 | 40.50 | 5044 | Normal Operation | 5044
2020-06-17 16:20 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 7.00 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.70 | 7.00 | 7.00 | 7.00 | 2909 | 50.05 | 20.76 | 5221.60 | 39.50 | 5044 | Normal Operation | 5044
2020-06-17 16:20 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 7.00 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.70 | 7.00 | 7.00 | 7.00 | 2909 | 50.05 | 20.76 | 5221.60 | 39.50 | 5044 | Normal Operation | 5044
2020-06-17 16:21 | F12186000115 | 517793557 |  |  | 420.40 | 2.90 | 0.00 | 0.00 | 6.70 | 0.00 | 0.00 | 0.00 | 136.30 | 136.10 | 136.70 | 6.80 | 6.90 | 6.90 | 2837 | 50.00 | 20.84 | 5221.70 | 39.30 | 5044 | Normal Operation | 5044
2020-06-17 16:27 | F12186000115 | 517793557 |  |  | 420.40 | 2.90 | 0.00 | 0.00 | 6.40 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 136.70 | 6.50 | 6.50 | 6.50 | 2698 | 49.99 | 21.09 | 5221.90 | 38.60 | 5045 | Normal Operation | 5045
2020-06-17 16:27 | F12186000115 | 517793557 |  |  | 420.40 | 2.90 | 0.00 | 0.00 | 6.40 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 136.70 | 6.50 | 6.50 | 6.50 | 2698 | 49.99 | 21.09 | 5221.90 | 38.60 | 5045 | Normal Operation | 5045
2020-06-17 16:28 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 6.30 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.70 | 6.50 | 6.50 | 6.50 | 2686 | 49.99 | 21.15 | 5222.00 | 38.50 | 5045 | Normal Operation | 5045
2020-06-17 16:34 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 6.40 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 137.00 | 6.30 | 6.30 | 6.30 | 2629 | 49.96 | 21.40 | 5222.20 | 38.90 | 5045 | Normal Operation | 5045
2020-06-17 16:35 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 6.30 | 0.00 | 0.00 | 0.00 | 136.30 | 136.50 | 137.00 | 6.30 | 6.30 | 6.30 | 2620 | 50.04 | 21.49 | 5222.30 | 39.80 | 5045 | Normal Operation | 5045
2020-06-17 16:41 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 6.00 | 0.00 | 0.00 | 0.00 | 136.30 | 136.50 | 137.00 | 6.10 | 6.20 | 6.20 | 2568 | 49.98 | 21.69 | 5222.50 | 41.30 | 5045 | Normal Operation | 5045
2020-06-17 16:42 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 6.00 | 0.00 | 0.00 | 0.00 | 136.50 | 137.00 | 137.00 | 6.20 | 6.20 | 6.20 | 2578 | 50.07 | 21.76 | 5222.60 | 41.70 | 5045 | Normal Operation | 5045
2020-06-17 16:43 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 6.00 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 137.00 | 6.10 | 6.10 | 6.10 | 2544 | 50.03 | 21.80 | 5222.60 | 41.90 | 5045 | Normal Operation | 5045
2020-06-17 16:49 | F12186000115 | 517793557 |  |  | 420.20 | 3.10 | 0.00 | 0.00 | 5.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 137.00 | 5.90 | 5.80 | 5.90 | 2433 | 50.00 | 22.02 | 5222.90 | 41.00 | 5045 | Normal Operation | 5045
2020-06-17 16:50 | F12186000115 | 517793557 |  |  | 443.60 | 3.10 | 0.00 | 0.00 | 5.60 | 0.00 | 0.00 | 0.00 | 136.50 | 136.10 | 136.70 | 6.10 | 6.10 | 6.10 | 2518 | 50.03 | 22.08 | 5222.90 | 40.30 | 5045 | Normal Operation | 5045
2020-06-17 16:59 | F12186000115 | 517793557 |  |  | 432.80 | 3.50 | 0.00 | 0.00 | 2.00 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 2.30 | 2.30 | 2.20 | 907 | 49.99 | 22.38 | 5223.20 | 39.10 | 5045 | Normal Operation | 5045
2020-06-17 17:00 | F12186000115 | 517793557 |  |  | 430.00 | 3.10 | 0.00 | 0.00 | 5.80 | 0.00 | 0.00 | 0.00 | 136.50 | 136.50 | 136.50 | 6.00 | 6.00 | 6.00 | 2476 | 49.99 | 22.44 | 5223.30 | 39.70 | 5045 | Normal Operation | 5045
2020-06-17 17:06 | F12186000115 | 517793557 |  |  | 420.60 | 3.30 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 136.30 | 136.30 | 136.70 | 1.50 | 1.50 | 1.50 | 588 | 50.01 | 22.65 | 5223.50 | 41.20 | 5045 | Normal Operation | 5045
2020-06-17 17:08 | F12186000115 | 517793557 |  |  | 430.60 | 3.70 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 136.70 | 136.70 | 137.00 | 1.60 | 1.60 | 1.60 | 614 | 50.01 | 22.68 | 5223.50 | 40.90 | 5045 | Normal Operation | 5045
2020-06-17 17:09 | F12186000115 | 517793557 |  |  | 432.20 | 3.50 | 0.00 | 0.00 | 1.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 1.60 | 1.60 | 1.60 | 618 | 50.01 | 22.69 | 5223.50 | 40.80 | 5045 | Normal Operation | 5045
2020-06-17 17:10 | F12186000115 | 517793557 |  |  | 378.40 | 3.50 | 0.00 | 0.00 | 4.00 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.70 | 3.80 | 3.80 | 3.80 | 1561 | 49.97 | 22.71 | 5223.60 | 40.80 | 5045 | Normal Operation | 5045
2020-06-17 17:18 | F12186000115 | 517793557 |  |  | 449.40 | 6.00 | 0.00 | 0.00 | 0.90 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 1.30 | 1.30 | 1.30 | 485 | 49.96 | 22.84 | 5223.70 | 40.60 | 5045 | Normal Operation | 5045
2020-06-17 17:19 | F12186000115 | 517793557 |  |  | 449.60 | 5.80 | 0.00 | 0.00 | 1.00 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.40 | 1.40 | 1.40 | 1.40 | 537 | 50.00 | 22.85 | 5223.70 | 40.50 | 5045 | Normal Operation | 5045
2020-06-17 17:25 | F12186000115 | 517793557 |  |  | 356.70 | 3.50 | 0.00 | 0.00 | 5.40 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.00 | 4.50 | 4.50 | 4.50 | 1874 | 49.98 | 22.93 | 5223.80 | 40.40 | 5046 | Normal Operation | 5046
2020-06-17 17:27 | F12186000115 | 517793557 |  |  | 414.60 | 3.10 | 0.00 | 0.00 | 4.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.70 | 137.20 | 4.70 | 4.70 | 4.70 | 1943 | 49.96 | 22.98 | 5223.80 | 40.80 | 5046 | Normal Operation | 5046
2020-06-17 17:33 | F12186000115 | 517793557 |  |  | 420.60 | 6.00 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 1.00 | 1.00 | 0.90 | 302 | 49.99 | 23.02 | 5223.90 | 40.00 | 5046 | Normal Operation | 5046
2020-06-17 17:35 | F12186000115 | 517793557 |  |  | 361.60 | 5.00 | 0.00 | 0.00 | 3.00 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.00 | 2.70 | 2.70 | 2.70 | 1120 | 50.02 | 23.03 | 5223.90 | 39.90 | 5046 | Normal Operation | 5046
2020-06-17 17:36 | F12186000115 | 517793557 |  |  | 385.90 | 4.40 | 0.00 | 0.00 | 3.70 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 136.70 | 3.40 | 3.40 | 3.40 | 1385 | 49.96 | 23.05 | 5223.90 | 40.20 | 5046 | Normal Operation | 5046
2020-06-17 17:44 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 4.40 | 0.00 | 0.00 | 0.00 | 137.20 | 136.50 | 137.20 | 4.60 | 4.60 | 4.60 | 1898 | 49.98 | 23.32 | 5224.20 | 41.30 | 5046 | Normal Operation | 5046
2020-06-17 17:45 | F12186000115 | 517793557 |  |  | 416.60 | 3.10 | 0.00 | 0.00 | 4.40 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 137.20 | 4.50 | 4.50 | 4.50 | 1873 | 49.95 | 23.37 | 5224.20 | 41.40 | 5046 | Normal Operation | 5046
2020-06-17 17:51 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 4.30 | 0.00 | 0.00 | 0.00 | 137.40 | 136.50 | 137.40 | 4.40 | 4.40 | 4.40 | 1827 | 49.99 | 23.54 | 5224.40 | 41.90 | 5046 | Normal Operation | 5046
2020-06-17 17:52 | F12186000115 | 517793557 |  |  | 425.90 | 3.10 | 0.00 | 0.00 | 4.20 | 0.00 | 0.00 | 0.00 | 136.70 | 136.30 | 137.20 | 4.40 | 4.40 | 4.40 | 1807 | 50.05 | 23.59 | 5224.40 | 42.00 | 5046 | Normal Operation | 5046
2020-06-17 18:01 | F12186000115 | 517793557 |  |  | 414.80 | 3.10 | 0.00 | 0.00 | 4.10 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 137.20 | 4.10 | 4.20 | 4.10 | 1713 | 49.93 | 23.83 | 5224.70 | 42.30 | 5046 | Normal Operation | 5046
2020-06-17 18:03 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 4.00 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.40 | 4.10 | 4.20 | 4.10 | 1708 | 49.97 | 23.89 | 5224.70 | 42.40 | 5046 | Normal Operation | 5046
2020-06-17 18:09 | F12186000115 | 517793557 |  |  | 420.40 | 3.10 | 0.00 | 0.00 | 3.90 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.60 | 4.00 | 4.00 | 4.00 | 1658 | 49.94 | 24.04 | 5224.90 | 42.40 | 5046 | Normal Operation | 5046
2020-06-17 18:15 | F12186000115 | 517793557 |  |  | 437.70 | 3.30 | 0.00 | 0.00 | 3.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 137.40 | 4.00 | 3.90 | 3.90 | 1640 | 49.97 | 24.21 | 5225.10 | 42.50 | 5046 | Normal Operation | 5046
2020-06-17 18:15 | F12186000115 | 517793557 |  |  | 437.70 | 3.30 | 0.00 | 0.00 | 3.70 | 0.00 | 0.00 | 0.00 | 137.00 | 136.30 | 137.40 | 4.00 | 3.90 | 3.90 | 1640 | 49.97 | 24.21 | 5225.10 | 42.50 | 5046 | Normal Operation | 5046
2020-06-17 18:16 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 3.70 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 137.40 | 3.90 | 3.90 | 3.90 | 1618 | 49.97 | 24.26 | 5225.10 | 42.60 | 5046 | Normal Operation | 5046
2020-06-17 18:22 | F12186000115 | 517793557 |  |  | 426.10 | 3.10 | 0.00 | 0.00 | 3.60 | 0.00 | 0.00 | 0.00 | 136.50 | 136.30 | 136.50 | 3.80 | 3.80 | 3.80 | 1556 | 49.90 | 24.41 | 5225.30 | 42.70 | 5047 | Normal Operation | 5047
2020-06-17 18:24 | F12186000115 | 517793557 |  |  | 426.10 | 3.10 | 0.00 | 0.00 | 3.60 | 0.00 | 0.00 | 0.00 | 136.70 | 136.50 | 136.70 | 3.80 | 3.80 | 3.80 | 1549 | 49.96 | 24.45 | 5225.30 | 42.70 | 5047 | Normal Operation | 5047
2020-06-17 18:32 | F12186000115 | 517793557 |  |  | 426.30 | 3.10 | 0.00 | 0.00 | 3.30 | 0.00 | 0.00 | 0.00 | 137.20 | 137.20 | 137.00 | 3.50 | 3.50 | 3.50 | 1449 | 49.95 | 24.66 | 5225.50 | 42.60 | 5047 | Normal Operation | 5047
2020-06-17 18:34 | F12186000115 | 517793557 |  |  | 426.10 | 3.30 | 0.00 | 0.00 | 3.20 | 0.00 | 0.00 | 0.00 | 137.40 | 137.20 | 137.20 | 3.50 | 3.50 | 3.40 | 1424 | 49.98 | 24.71 | 5225.60 | 42.60 | 5047 | Normal Operation | 5047
2020-06-17 18:35 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 3.20 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.20 | 3.40 | 3.40 | 3.40 | 1408 | 50.02 | 24.75 | 5225.60 | 42.60 | 5047 | Normal Operation | 5047
2020-06-17 18:42 | F12186000115 | 517793557 |  |  | 432.20 | 3.30 | 0.00 | 0.00 | 3.10 | 0.00 | 0.00 | 0.00 | 137.40 | 137.40 | 137.00 | 3.30 | 3.30 | 3.30 | 1369 | 49.97 | 24.88 | 5225.70 | 42.50 | 5047 | Normal Operation | 5047
2020-06-17 18:43 | F12186000115 | 517793557 |  |  | 437.90 | 3.30 | 0.00 | 0.00 | 3.00 | 0.00 | 0.00 | 0.00 | 137.40 | 137.20 | 137.20 | 3.30 | 3.30 | 3.30 | 1357 | 50.00 | 24.93 | 5225.80 | 42.40 | 5047 | Normal Operation | 5047
2020-06-17 18:49 | F12186000115 | 517793557 |  |  | 426.10 | 3.30 | 0.00 | 0.00 | 2.90 | 0.00 | 0.00 | 0.00 | 137.20 | 136.70 | 137.00 | 3.10 | 3.10 | 3.10 | 1287 | 49.96 | 25.05 | 5225.90 | 42.30 | 5047 | Normal Operation | 5047
2020-06-17 18:55 | F12186000115 | 517793557 |  |  | 432.20 | 3.30 | 0.00 | 0.00 | 2.80 | 0.00 | 0.00 | 0.00 | 137.40 | 137.20 | 137.20 | 2.90 | 3.00 | 2.90 | 1224 | 50.01 | 25.17 | 5226.00 | 42.00 | 5047 | Normal Operation | 5047
2020-06-17 18:57 | F12186000115 | 517793557 |  |  | 437.70 | 3.30 | 0.00 | 0.00 | 2.60 | 0.00 | 0.00 | 0.00 | 137.40 | 137.20 | 137.40 | 2.90 | 2.90 | 2.90 | 1187 | 49.98 | 25.21 | 5226.10 | 42.00 | 5047 | Normal Operation | 5047
2020-06-17 19:03 | F12186000115 | 517793557 |  |  | 415.00 | 5.40 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.00 | 137.00 | 137.00 | 1.10 | 1.10 | 1.00 | 345 | 49.96 | 25.26 | 5226.10 | 41.30 | 5047 | Normal Operation | 5047
2020-06-17 19:04 | F12186000115 | 517793557 |  |  | 432.40 | 5.20 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.20 | 137.20 | 137.40 | 1.10 | 1.10 | 1.00 | 359 | 49.99 | 25.28 | 5226.10 | 41.10 | 5047 | Normal Operation | 5047
2020-06-17 19:10 | F12186000115 | 517793557 |  |  | 432.20 | 3.50 | 0.00 | 0.00 | 2.40 | 0.00 | 0.00 | 0.00 | 137.20 | 137.00 | 137.60 | 2.60 | 2.60 | 2.60 | 1058 | 50.00 | 25.33 | 5226.20 | 40.80 | 5047 | Normal Operation | 5047
2020-06-17 19:16 | F12186000115 | 517793557 |  |  | 455.60 | 3.50 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 137.40 | 137.20 | 137.90 | 1.60 | 1.60 | 1.60 | 634 | 49.96 | 25.41 | 5226.30 | 40.60 | 5047 | Normal Operation | 5047
2020-06-17 19:17 | F12186000115 | 517793557 |  |  | 449.60 | 3.30 | 0.00 | 0.00 | 1.40 | 0.00 | 0.00 | 0.00 | 137.40 | 137.40 | 137.90 | 1.70 | 1.70 | 1.70 | 661 | 49.98 | 25.42 | 5226.30 | 40.50 | 5047 | Normal Operation | 5047
2020-06-17 19:26 | F12186000115 | 517793557 |  |  | 420.60 | 3.10 | 0.00 | 0.00 | 3.10 | 0.00 | 0.00 | 0.00 | 137.00 | 137.20 | 137.60 | 3.20 | 3.20 | 3.20 | 1324 | 49.99 | 25.56 | 5226.40 | 40.70 | 5048 | Normal Operation | 5048
2020-06-17 19:27 | F12186000115 | 517793557 |  |  | 409.10 | 3.30 | 0.00 | 0.00 | 1.80 | 0.00 | 0.00 | 0.00 | 137.00 | 137.00 | 137.40 | 1.90 | 1.90 | 1.90 | 771 | 49.97 | 25.59 | 5226.40 | 40.70 | 5048 | Normal Operation | 5048
2020-06-17 19:36 | F12186000115 | 517793557 |  |  | 444.00 | 3.50 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 137.20 | 137.40 | 137.60 | 1.50 | 1.50 | 1.50 | 598 | 49.97 | 25.68 | 5226.50 | 40.20 | 5048 | Normal Operation | 5048
2020-06-17 19:42 | F12186000115 | 517793557 |  |  | 455.60 | 4.80 | 0.00 | 0.00 | 1.20 | 0.00 | 0.00 | 0.00 | 137.20 | 137.40 | 137.90 | 1.50 | 1.50 | 1.50 | 584 | 50.03 | 25.74 | 5226.60 | 40.00 | 5048 | Normal Operation | 5048
2020-06-17 19:44 | F12186000115 | 517793557 |  |  | 455.40 | 5.00 | 0.00 | 0.00 | 1.20 | 0.00 | 0.00 | 0.00 | 137.20 | 137.00 | 137.90 | 1.50 | 1.50 | 1.50 | 583 | 49.98 | 25.76 | 5226.60 | 39.90 | 5048 | Normal Operation | 5048
2020-06-17 19:50 | F12186000115 | 517793557 |  |  | 466.90 | 3.50 | 0.00 | 0.00 | 1.30 | 0.00 | 0.00 | 0.00 | 137.20 | 137.20 | 137.60 | 1.60 | 1.60 | 1.60 | 618 | 49.96 | 25.82 | 5226.70 | 39.70 | 5048 | Normal Operation | 5048
2020-06-17 19:56 | F12186000115 | 517793557 |  |  | 437.90 | 3.10 | 0.00 | 0.00 | 1.80 | 0.00 | 0.00 | 0.00 | 137.40 | 137.40 | 137.40 | 2.10 | 2.10 | 2.10 | 827 | 49.91 | 25.90 | 5226.70 | 39.60 | 5048 | Normal Operation | 5048
2020-06-17 19:57 | F12186000115 | 517793557 |  |  | 433.00 | 3.50 | 0.00 | 0.00 | 0.90 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.60 | 1.30 | 1.30 | 1.30 | 471 | 49.99 | 25.93 | 5226.80 | 39.60 | 5048 | Normal Operation | 5048
2020-06-17 20:03 | F12186000115 | 517793557 |  |  | 443.80 | 3.50 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.40 | 137.40 | 137.60 | 1.10 | 1.10 | 1.10 | 389 | 49.97 | 25.96 | 5226.80 | 39.30 | 5048 | Normal Operation | 5048
2020-06-17 20:05 | F12186000115 | 517793557 |  |  | 484.60 | 2.90 | 0.00 | 0.00 | 0.70 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.90 | 1.20 | 1.20 | 1.20 | 418 | 49.95 | 25.98 | 5226.80 | 39.20 | 5048 | Normal Operation | 5048
2020-06-17 20:11 | F12186000115 | 517793557 |  |  | 484.40 | 2.90 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 137.60 | 137.20 | 137.90 | 1.10 | 1.10 | 1.00 | 351 | 49.94 | 26.01 | 5226.90 | 38.90 | 5048 | Normal Operation | 5048
2020-06-17 20:17 | F12186000115 | 517793557 |  |  | 414.80 | 5.20 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.90 | 137.20 | 138.10 | 1.10 | 1.10 | 1.10 | 377 | 49.99 | 26.05 | 5226.90 | 38.70 | 5048 | Normal Operation | 5048
2020-06-17 20:18 | F12186000115 | 517793557 |  |  | 410.90 | 5.60 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.40 | 1.10 | 1.10 | 1.10 | 364 | 49.97 | 26.07 | 5226.90 | 38.70 | 5048 | Normal Operation | 5048
2020-06-17 20:24 | F12186000115 | 517793557 |  |  | 397.10 | 5.60 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 137.90 | 137.40 | 137.60 | 0.90 | 0.90 | 0.80 | 249 | 49.96 | 26.09 | 5226.90 | 38.40 | 5049 | Normal Operation | 5049
2020-06-17 20:25 | F12186000115 | 517793557 |  |  | 391.40 | 5.60 | 0.00 | 0.00 | 0.60 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.60 | 0.90 | 0.90 | 0.90 | 260 | 50.01 | 26.10 | 5226.90 | 38.30 | 5049 | Normal Operation | 5049
2020-06-17 20:31 | F12186000115 | 517793557 |  |  | 398.50 | 3.50 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.20 | 0.80 | 0.80 | 0.80 | 187 | 49.99 | 26.12 | 5227.00 | 38.00 | 5049 | Normal Operation | 5049
2020-06-17 20:32 | F12186000115 | 517793557 |  |  | 432.20 | 3.10 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.40 | 0.80 | 0.80 | 0.80 | 218 | 49.99 | 26.12 | 5227.00 | 38.00 | 5049 | Normal Operation | 5049
2020-06-17 20:38 | F12186000115 | 517793557 |  |  | 396.90 | 5.40 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.90 | 137.60 | 137.60 | 0.70 | 0.70 | 0.70 | 142 | 49.99 | 26.14 | 5227.00 | 37.70 | 5049 | Normal Operation | 5049
2020-06-17 20:44 | F12186000115 | 517793557 |  |  | 404.70 | 3.90 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.90 | 137.40 | 137.90 | 0.80 | 0.80 | 0.70 | 179 | 49.98 | 26.16 | 5227.00 | 37.50 | 5049 | Normal Operation | 5049
2020-06-17 20:46 | F12186000115 | 517793557 |  |  | 432.20 | 3.70 | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 | 0.00 | 138.10 | 137.60 | 138.10 | 0.70 | 0.80 | 0.70 | 138 | 49.97 | 26.16 | 5227.00 | 37.50 | 5049 | Normal Operation | 5049
2020-06-17 20:52 | F12186000115 | 517793557 |  |  | 451.70 | 3.10 | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 | 0.00 | 137.20 | 137.00 | 137.00 | 0.70 | 0.80 | 0.70 | 128 | 50.00 | 26.17 | 5227.00 | 37.20 | 5049 | Normal Operation | 5049
2020-06-17 20:54 | F12186000115 | 517793557 |  |  | 414.40 | 3.50 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.60 | 0.70 | 0.70 | 0.70 | 143 | 50.00 | 26.18 | 5227.00 | 37.20 | 5049 | Normal Operation | 5049
2020-06-17 21:00 | F12186000115 | 517793557 |  |  | 432.40 | 3.30 | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 | 0.00 | 137.90 | 137.60 | 138.10 | 0.80 | 0.80 | 0.70 | 137 | 50.04 | 26.19 | 5227.00 | 37.00 | 5049 | Normal Operation | 5049
2020-06-17 21:01 | F12186000115 | 517793557 |  |  | 432.40 | 3.30 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.90 | 137.40 | 137.90 | 0.70 | 0.70 | 0.70 | 150 | 50.05 | 26.20 | 5227.00 | 37.00 | 5049 | Normal Operation | 5049
2020-06-17 21:07 | F12186000115 | 517793557 |  |  | 414.60 | 3.50 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.60 | 136.70 | 137.20 | 0.70 | 0.80 | 0.70 | 146 | 49.95 | 26.21 | 5227.10 | 36.80 | 5049 | Normal Operation | 5049
2020-06-17 21:09 | F12186000115 | 517793557 |  |  | 414.60 | 3.70 | 0.00 | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.20 | 0.70 | 0.70 | 0.70 | 132 | 49.94 | 26.22 | 5227.10 | 36.80 | 5049 | Normal Operation | 5049
2020-06-17 21:15 | F12186000115 | 517793557 |  |  | 438.50 | 3.50 | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 | 0.00 | 137.60 | 136.70 | 137.60 | 0.70 | 0.70 | 0.70 | 95 | 49.97 | 26.23 | 5227.10 | 36.60 | 5049 | Normal Operation | 5049
2020-06-17 21:16 | F12186000115 | 517793557 |  |  | 408.90 | 4.80 | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 | 0.00 | 137.60 | 136.70 | 137.90 | 0.70 | 0.70 | 0.70 | 73 | 49.96 | 26.23 | 5227.10 | 36.50 | 5049 | Normal Operation | 5049
2020-06-17 21:22 | F12186000115 | 517793557 |  |  | 480.70 | 3.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.20 | 137.60 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 26.23 | 5227.10 | 36.20 | 5050 | Testing | 5050
2020-06-17 21:23 | F12186000115 | 517793557 |  |  | 479.30 | 3.10 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.40 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 49.98 | 26.23 | 5227.10 | 36.00 | 5050 | Testing | 5050
2020-06-17 21:29 | F12186000115 | 517793557 |  |  | 474.70 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.40 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 26.23 | 5227.10 | 35.50 | 5050 | Testing | 5050
2020-06-17 21:30 | F12186000115 | 517793557 |  |  | 473.60 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.40 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.01 | 26.23 | 5227.10 | 35.40 | 5050 | Testing | 5050
2020-06-17 21:37 | F12186000115 | 517793557 |  |  | 471.20 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.30 | 137.90 | 138.10 | 0.00 | 0.00 | 0.00 | 0 | 50.03 | 26.23 | 5227.10 | 35.00 | 5050 | Testing | 5050
2020-06-17 21:37 | F12186000115 | 517793557 |  |  | 470.40 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 138.10 | 137.60 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.00 | 26.23 | 5227.10 | 34.80 | 5050 | Testing | 5050
2020-06-17 21:44 | F12186000115 | 517793557 |  |  | 468.10 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.20 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.02 | 26.23 | 5227.10 | 34.40 | 5050 | Testing | 5050
2020-06-17 21:45 | F12186000115 | 517793557 |  |  | 468.10 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.90 | 137.20 | 137.90 | 0.00 | 0.00 | 0.00 | 0 | 50.02 | 26.23 | 5227.10 | 34.20 | 5050 | Testing | 5050
2020-06-17 21:51 | F12186000115 | 517793557 |  |  | 465.90 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.00 | 136.50 | 137.00 | 0.00 | 0.00 | 0.00 | 0 | 50.00 | 26.23 | 5227.10 | 33.80 | 5050 | Testing | 5050
2020-06-17 21:53 | F12186000115 | 517793557 |  |  | 467.50 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 137.00 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 50.00 | 26.23 | 5227.10 | 33.70 | 5050 | Testing | 5050
2020-06-17 21:59 | F12186000115 | 517793557 |  |  | 472.60 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 137.20 | 137.40 | 0.00 | 0.00 | 0.00 | 0 | 49.97 | 26.23 | 5227.10 | 33.30 | 5050 | Testing | 5050
2020-06-17 22:00 | F12186000115 | 517793557 |  |  | 191.80 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.00 | 137.00 | 136.70 | 0.00 | 0.00 | 0.00 | 0 | 49.93 | 26.23 | 5227.10 | 33.20 | 5050 | Testing | 5050
2020-06-17 22:07 | F12186000115 | 517793557 |  |  | 482.30 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 137.00 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 49.94 | 26.23 | 5227.10 | 32.90 | 5050 | Testing | 5050
2020-06-17 22:08 | F12186000115 | 517793557 |  |  | 482.30 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 136.70 | 137.00 | 0.00 | 0.00 | 0.00 | 0 | 49.94 | 26.23 | 5227.10 | 32.70 | 5050 | Testing | 5050
2020-06-17 22:14 | F12186000115 | 517793557 |  |  | 32.40 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.00 | 136.70 | 0.00 | 0.00 | 0.00 | 0 | 49.95 | 26.23 | 5227.10 | 32.50 | 5050 | Testing | 5050
2020-06-17 22:16 | F12186000115 | 517793557 |  |  | 482.70 | 2.90 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.40 | 136.50 | 136.70 | 0.00 | 0.00 | 0.00 | 0 | 49.94 | 26.23 | 5227.10 | 32.30 | 5050 | Testing | 5050
2020-06-17 22:24 | F12186000115 | 517793557 |  |  | 459.60 | 2.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 137.60 | 137.40 | 137.20 | 0.00 | 0.00 | 0.00 | 0 | 49.95 | 26.23 | 5227.10 | 31.90 | 5051 | Testing | 5051